400V
switch
WiFi
0-5V soft start
230V
main board
PWM SSR
I2C bus
Low Pressure Switch
High Pressure Switch
Compressor
Cold Side Pump
Hot Side Pump
Analog Sensors
Cold Side
Analog Sensors
Hot Side
Refrigerant Output Temp
Refrigerant Output Temp
Refrigerant Input Temp
Refrigerant Input Temp
Water Output Temp
Water Output Temp
Water Input Temp
Water Input Temp
EEV
Refrigerant Pressure
Refrigerant Pressure
Water Pressure
Water Pressure
Water Flow
Water Flow